|  | Specification sheet for ZFD/ZMD310/400AT/CT... |
| --- | --- |
| Customer: |  |
| Order: | Quantity: |
| Meter Type | ZFD 3 Phase, 3 wire, 2 Measurement systems (Aron connected) |
|  | ZMD 3 Phase, 4 wire, 3 Measurement systems (Star connected) |
|  | 310 Direct connected meter, Cl. 1.0 acc. to IEC |
|  | 402 transformer connected meter, Cl. 0.2S acc. to IEC (only for 50 Hz) |
|  | 405 transformer connected meter, Cl. 0.5S acc. to IEC |
|  | 410 transformer connected meter, Cl. 1.0 acc. to IEC |
|  | AT Meter for active energy |
|  | CT Combimeter, (Active- & reactive energy) |
|  | AR Meter for active energy with integrated CU module |
|  | CR Combimeter, (Active- & reactive energy) with integrated CU module |
|  | 21 Energy tariffs, controlled by inputs |
|  | 24 Energy tariffs, controlled by inputs and internal time switch |
|  | 41 same as 21, in addition with demand measurement |
|  | 44 same as 24, in addition with demand measurement |
|  | c1 integrated CU module: RS232 (1x RJ12 plug) max 9600 Bd |
|  | c2 integrated CU module: RS485 (2x RJ12 plugs) max 9600 Bd |
|  | c3 integrated CU module: CS (2x WAGO terminals) max 9600 Bd |
|  | c6 integrated CU module: RS422 (2x RJ12 plugs) max 9600 Bd |
|  | The basic meter has 3 control inputs and 2 potential free output relays. |
| Extension | 0000 Without Inputs/outputs, without load profile |
| card: | 0007 Without Inputs/outputs, with load profile |
| In addition to | 2400 2 Inputs / 4 outputs, without load profile |
| Basic meter | 2407 2 Inputs / 4 outputs, with load profile |
|  | 4200 4 Inputs / 2 outputs, without load profile |
|  | 4207 4 Inputs / 2 outputs, with load profile |
|  | 0457 Without Inputs / 4 outputs, with additional power supply 100-240 V AC/DC, with load profile |
|  | 0467 Without Inputs / 4 outputs, with additional power supply 12-24 V DC, with load profile |
|  | 0600 Without Inputs / 6 outputs, without load profile |
|  | 0607 Without Inputs / 6 outputs, with load profile |
| Additional functions: | Instantaneous Values Mains values like current per phase & neutral, frequency, phase angels and Current Monitoring (not necessary if instantaneous voltage is required) |
| In addition to Basic meter | Demand Monitoring Supervision of up to 8 demand levels (only T41 & T44) (only available with demand measurement) |
|  | Power Factor Measurement Power factor measurement and monitoring is enabled (only CT/CR) |
|  | SMS Alerts can be used to send SMS messages to a mobile phone via an external GSM modem or Communication unit CU-Gx, CU-G2x or CU-P2x with an internal GSM modem |
|  | Display Illumination Backlight to improve the readability in dark surrounding |
|  | Battery Required for display activation or to keep the clock running (at power off) more then 3 weeks |
| Communication unit: CU (modular plugable and exchangeable) |
|  | A1 S01, S02, RS232, CS |
|  | A2 RS232, CS |
|  | A4 CS (20 mA Interface) |
|  | A5 RS232 |
|  | B1 S01, S02, RS232, RS485 |
|  | B2 RS485 |
|  | B4 RS232, RS485 |
|  | D2 M-Bus |
|  | M1 S01, S02, PSTN Modem, RS485 |
|  | G4 S01, S02, GSM Modem, RS485 |
|  | G5 S01, S02, GSM Modem, RS232 |
|  | E20 Ethernet |
|  | E21 CS, Ethernet, RS232 |
|  | E22 CS, Ethernet, RS485 |
|  | M20 PSTN |
|  | M21 CS, PSTN, RS232 |
|  | M22 CS, PSTN, RS485 |
|  | G20 GSM |
|  | G21 CS, GSM, RS232 |
|  | G22 CS, GSM, RS485 |
|  | P2 GSM/GPRS |
|  | P20 GSM/GPRS |
|  | P21 CS, GSM/GPRS, RS232 |
|  | P22 CS, GSM/GPRS, RS485 |
| Ratings: | Secondary voltage: 3x58/100 V 3x230/400 V 3x / V |
|  | Wide voltage range 3x58/100...240/415 V |
|  | Primary voltage: |
|  | Direct connected, Current nominal: 5 A 10 A 20 A 40 A |
|  | Direct connected, Current max.: 40 A 60 A 80 A 100 A 120 A |
|  | Secondary current: 1(1,2) A 1(2) A 5(6) A 5(10) A 5//1(6) A |
|  | Primary current: |
|  | Frequency: | 50 Hz | 60 Hz |  |  |  |  |
| Measured energy and no. of tariffs |
| Energy: | Tariff | +A | -A | +R | -R | + Ri | + Rc | - Ri | - Rc | +VA | -VA |
|  | 1 |  |  |  |  |  |  |  |  |  |  |
|  | 2 |  |  |  |  |  |  |  |  |  |  |
| Demand: | Tariff | +A | -A | +R | -R | + Ri | + Rc | - Ri | - Rc | +VA | -VA |
|  | 1 |  |  |  |  |  |  |  |  |  |  |
|  | 2 |  |  |  |  |  |  |  |  |  |  |
| Load profile: |  |  |  |  |  |  |  |  |  |  |  |
| Tariff table: |
| Season table: Winter: from to Summer: from to |
| Low tariff (NT): Workday: |
| Saturday: |
| Sunday: |
| High tariff: (HT): Workday: |
| Saturday: |
| Sunday: |
| Peak tariff (PT): Workday: |
| Special days: Yes No |
| Tariff control: by control inputs by internal time switch |
| Reset: | Button + ext. | Button + internal command | Monthly reset |
|  |  |  | at 00.00 h Day |
| MD period: | 5’ | 10‘ | 15‘ | 30‘ | 60‘ | asynchrony | synchrony |
|  |  |  |  |  |  | to internal clock |
| Time base: | Mains frequency | Quartz |  |  |
| Stored values: | 0 | 1 | 2 | 3 | 12 | 15 |  |
|  | Scroll mode |  |  |  |  |  |  |  |
|  | Display list |  |  |  |  |  |  |  |
|  | Service mode |  |  |  |  |  |  |  |
|  | Read-Out |  |  |  |  |  |  |  |

| Output contacts: | K1 | K2 | K3 | K4 | K5 | K6 | K7 | K8 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Energy (e.g. +A) |  |  |  |  |  |  |  |  |
| Impulse value: |  |  |  |  |  |  |  |  |
| Output signal: |  |  |  |  |  |  |  |  |
| With legalization: Yes No |
| With factory process data’s: Yes No |
| With measurement protocol: Yes No |
| Remarks: |
| Chosen ASN: |
| Issued By: | Date: | Visum |