Questionnaire

Specifications for OPGW design

The following questions (*) must be completed to allow us the calculation of the correct OPGW:

| *Total line length: | (m) |
| --- | --- |
| *Tower distance (Span): | (m) |
| Longitudinal-profile (Altitude of Towers , a.m.s.l.) : | (m) |
| max. sag allowed: | (m) |
| max. wind and ice-load: |  |
| *Number of fiber`s : |  |
| *Fiber type: | (single/multi-mode) |
| *Total cross-section Ø : (maximum) | (mm2) |
| Weight of Alu Cross-section: | (kg/km) |
| *Rope-weight: (maximum) | (kg/km) |
| *Breaking Load: (minimum) | (kN) |
| Maximum-Tensile-Stress: | (N/mm2) |
| Every-Day-Stress | (N/mm2) |
| Contineous-Endurance-Stress: | (N/mm2) |
| Thermal-Expansion-Coefficient: | (1/°C) |
| *Short-circuit current: 1,0 s Temp. 20°C - 160°C : (minimum) | (kA) |
| DC Resistance at 20°C: | (Ohm/km) |
| Fiber-Overlength: | (%) |
| Minimal Bending-Radius ß < 120°: | (mm) |
| Minimal Bending-Radius ß ≥ 120°: | (mm) |
| Reference-type : |  |
| Standard specifications: |  |
| Customer : |  |

Brugg Kabel AG • Klosterzelgstr. 28 • 5200 Brugg •Switzerland • Tel. +41 564603100 • Fax +4156 4603531 • www.brugg.com